17 September 2015

Addendum No. 5

Brandon Town Offices Rehabilitation

49 Center Street, Brandon, VT

The following items are to be included in the bid for the above project.  Each item clarifies, adds to or supersedes related items in the previously issued Bid Documents, dated 28 August 2015, Addendum No. 1, dated 08 September 2015, Addendum No. 2, dated 10 September 2015, and Addendum No. 3, dated 14 September 2015, and Addendum No. 4, dated 15 September 2015.  The Bidder shall notify the Owner if any items are unclear or require additional information.

Reminder to Bidders: Sealed bids from qualified contractors shall be accepted until September 18, 2015 4:00 PM, EST at the Town of Brandon Office 2417 Franklin Street, Brandon VT 05733.

BIDDER QUESTIONS:

1. Please clarify the lighting fixture number for Fixtures A1 and A2?

Lighting fixtures A1 and A2 are 2x4 type fixtures, not 2x2.  Please change the manufacturer's reference number in the fixture schedule to read,

Lithonia # 2VTL4 33L ADP EZ1 LP835

------------------------------------------------------------------------------------------------------------

Attachments:

None.